## itme codes required
Catalog Items |  | Dated: | 2016-04-27
Sr. # | Item No. | Item Name | UOM
1 | Required | Installation, Testing & commissioning of 132KV Outdoor cable sealing end for 1Cx 1600 sqmm CU/ XLPE/ CWS/LAT/ HDPE cable with all accessories to terminate the cable. | No.s
2 | Required | Installation, Testing & commissioning of 132KV GIS cable sealing end for (XLPE-SF6)1Cx 1600 sqmm CU/ XLPE/ CWS/LAT/ HDPE cable with all accessories to terminate the cable. | No.s
3 | Required | Installation, Testing & commissioning of 132KV Outdoor cable sealing end for 1Cx 1200 sqmm CU/ XLPE/ CWS/LAT/ HDPE cable. with all accessories to terminate the cable. | No.s
4 | Required | Installation, Testing & commissioning of 132KV GIS cable sealing end for (XLPE-SF6) 1Cx 1200 sqmm CU/ XLPE/ CWS/LAT/ HDPE cable with all accessories to terminate the cable. | No.s